## Total Clearing (7.2-14.4kV)
S&C Power Fuses - Type SMU-20 (14.4 kV) | [9 empty] | S&C Power Fuses - Type SMU-20 (14.4 kV)
"DR" Speed (TCC 175-2-2) | [9 empty] | "DR" Speed (TCC 175-2-2)
Total Clearing Time-Current Characteristic Curves Dated August 29, 2005 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated August 29, 2005
Tolerance: | Curves are plotted to maximum test points. All variations are minus. | [8 empty] | Tolerance: | Curves are plotted to maximum test points. All variations are minus.
3DR |  | 4DR |  | 5DR |  | 7DR |  | 10DR |  | 15DR |  | 20DR
Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current
0.016145 | 17960.4 | 0.016145 | 17960.4 | 0.016145 | 17960.4 | 0.016145 | 17960.4 | 0.016145 | 17960.4 | 0.016145 | 17960.4 | 0.016145 | 17960.4
0.020117 | 6620.51 | 0.020117 | 6620.51 | 0.020117 | 6620.51 | 0.020117 | 6620.51 | 0.020117 | 6620.51 | 0.020117 | 6620.51 | 0.020117 | 6620.51
0.022167 | 4527.51 | 0.022167 | 4527.51 | 0.022167 | 4527.51 | 0.022167 | 4527.51 | 0.022167 | 4527.51 | 0.022167 | 4527.51 | 0.022167 | 4527.51
0.023141 | 3823.53 | 0.023141 | 3823.53 | 0.023141 | 3823.53 | 0.023141 | 3823.53 | 0.023141 | 3823.53 | 0.023141 | 3823.53 | 0.023141 | 3823.53
0.024206 | 3165.06 | 0.024206 | 3165.06 | 0.024206 | 3165.06 | 0.024206 | 3165.06 | 0.024206 | 3165.06 | 0.024206 | 3165.06 | 0.024206 | 3165.06
0.02467 | 2959.95 | 0.02467 | 2959.95 | 0.02467 | 2959.95 | 0.02467 | 2959.95 | 0.02467 | 2959.95 | 0.02467 | 2959.95 | 0.02467 | 2959.95
0.02532 | 2689.01 | 0.02532 | 2689.01 | 0.02532 | 2689.01 | 0.02532 | 2689.01 | 0.02532 | 2689.01 | 0.02532 | 2689.01 | 0.02532 | 2689.01
0.02638 | 2404.09 | 0.02638 | 2404.09 | 0.02638 | 2404.09 | 0.02638 | 2404.09 | 0.02638 | 2404.09 | 0.02638 | 2404.09 | 0.02638 | 2404.09
0.027539 | 2119.48 | 0.027539 | 2119.48 | 0.027539 | 2119.48 | 0.027539 | 2119.48 | 0.027539 | 2119.48 | 0.027539 | 2119.48 | 0.027539 | 2119.48
0.029067 | 1822.43 | 0.029067 | 1822.43 | 0.029067 | 1822.43 | 0.029067 | 1822.43 | 0.029067 | 1822.43 | 0.029067 | 1822.43 | 0.029067 | 1822.43
0.03071 | 1582.76 | 0.03071 | 1582.76 | 0.03071 | 1582.76 | 0.03071 | 1582.76 | 0.03071 | 1582.76 | 0.03071 | 1582.76 | 0.03071 | 1582.76
0.032382 | 1408 | 0.032382 | 1408 | 0.032382 | 1408 | 0.032382 | 1408 | 0.032382 | 1408 | 0.032382 | 1408 | 0.032382 | 1408
0.034522 | 1232.66 | 0.034522 | 1232.66 | 0.034522 | 1232.66 | 0.034522 | 1232.66 | 0.034522 | 1232.66 | 0.034522 | 1232.66 | 0.034522 | 1232.66
0.036767 | 1100.95 | 0.036767 | 1100.95 | 0.036767 | 1100.95 | 0.036767 | 1100.95 | 0.036767 | 1100.95 | 0.036767 | 1100.95 | 0.036767 | 1100.95
0.038962 | 994.192 | 0.038962 | 994.192 | 0.038962 | 994.192 | 0.038962 | 994.192 | 0.038962 | 994.192 | 0.038962 | 994.192 | 0.038962 | 994.192
0.041704 | 894.201 | 0.041704 | 894.201 | 0.041704 | 894.201 | 0.041704 | 894.201 | 0.041704 | 894.201 | 0.041704 | 894.201 | 0.041704 | 894.201
0.044594 | 814.79 | 0.044594 | 814.79 | 0.044594 | 814.79 | 0.044594 | 814.79 | 0.044594 | 814.79 | 0.044594 | 814.79 | 0.044594 | 814.79
0.047875 | 740.948 | 0.047875 | 740.948 | 0.047875 | 740.948 | 0.047875 | 740.948 | 0.047875 | 740.948 | 0.047875 | 740.948 | 0.047875 | 740.948
0.051759 | 675.147 | 0.051759 | 675.147 | 0.051759 | 675.147 | 0.051759 | 675.147 | 0.051759 | 675.147 | 0.051759 | 675.147 | 0.051759 | 675.147
0.055401 | 624.487 | 0.055401 | 624.487 | 0.055401 | 624.487 | 0.055401 | 624.487 | 0.055401 | 624.487 | 0.055401 | 624.487 | 0.055401 | 624.487
0.060922 | 571.881 | 0.060922 | 571.881 | 0.060922 | 571.881 | 0.060922 | 571.881 | 0.060922 | 571.881 | 0.060922 | 571.881 | 0.060922 | 571.881
0.066859 | 523.706 | 0.066859 | 523.706 | 0.066859 | 523.706 | 0.066859 | 523.706 | 0.066859 | 523.706 | 0.066859 | 523.706 | 0.066859 | 523.706
0.07367 | 483.926 | 0.07367 | 483.926 | 0.07367 | 483.926 | 0.07367 | 483.926 | 0.07367 | 483.926 | 0.07367 | 483.926 | 0.07367 | 483.926
0.080688 | 450.758 | 0.080688 | 450.758 | 0.080688 | 450.758 | 0.080688 | 450.758 | 0.080688 | 450.758 | 0.080688 | 450.758 | 0.080688 | 450.758
0.092721 | 405.829 | 0.092721 | 405.829 | 0.092721 | 405.829 | 0.092721 | 405.829 | 0.092721 | 405.829 | 0.092721 | 405.829 | 0.092721 | 405.829
0.10762 | 367.576 | 0.10762 | 367.576 | 0.10762 | 367.576 | 0.10762 | 367.576 | 0.10762 | 367.576 | 0.10762 | 367.576 | 0.10762 | 367.576
0.12962 | 326.011 | 0.12962 | 326.011 | 0.12962 | 326.011 | 0.12962 | 326.011 | 0.12962 | 326.011 | 0.12962 | 326.011 | 0.12962 | 326.011
0.1506 | 295.873 | 0.1506 | 295.873 | 0.1506 | 295.873 | 0.1506 | 295.873 | 0.1506 | 295.873 | 0.1506 | 295.873 | 0.1506 | 295.873
0.18822 | 257.477 | 0.18822 | 257.477 | 0.18822 | 257.477 | 0.18822 | 257.477 | 0.18822 | 257.477 | 0.18822 | 257.477 | 0.18822 | 257.477
0.22176 | 234.143 | 0.22176 | 234.143 | 0.22176 | 234.143 | 0.22176 | 234.143 | 0.22176 | 234.143 | 0.22176 | 234.143 | 0.22176 | 234.143
0.28219 | 203.758 | 0.28219 | 203.758 | 0.28219 | 203.758 | 0.28219 | 203.758 | 0.28219 | 203.758 | 0.28219 | 203.758 | 0.28219 | 203.758
0.35128 | 179.995 | 0.35128 | 179.995 | 0.35128 | 179.995 | 0.35128 | 179.995 | 0.35128 | 179.995 | 0.35128 | 179.995 | 0.35128 | 179.995
0.43164 | 160.924 | 0.43164 | 160.924 | 0.43164 | 160.924 | 0.43164 | 160.924 | 0.43164 | 160.924 | 0.43164 | 160.924 | 0.43164 | 160.924
0.57169 | 138.924 | 0.57169 | 138.924 | 0.57169 | 138.924 | 0.57169 | 138.924 | 0.57169 | 138.924 | 0.57169 | 138.924 | 0.57169 | 138.924
0.73333 | 123.215 | 0.73333 | 123.215 | 0.73333 | 123.215 | 0.73333 | 123.215 | 0.73333 | 123.215 | 0.73333 | 123.215 | 0.73333 | 123.215
0.93973 | 109.501 | 0.93973 | 109.501 | 0.93973 | 109.501 | 1.0565 | 100.9095 | 0.93973 | 109.501 | 0.93973 | 109.501 | 1.0565 | 100.9095
1.8252 | 78.0046 | 1.0565 | 100.9095 | 1.0565 | 100.9095 | 1.4107 | 90.5154 | 1.115 | 101.183 | 1.115 | 101.183 | 1.4107 | 90.5154
3.5765 | 57.9316 | 1.8252 | 78.0046 | 1.7335 | 81.192 | 1.955 | 80.4982 | 1.8252 | 78.0046 | 1.7335 | 81.192 | 1.955 | 80.4982
4.2224 | 54.0877 | 3.5765 | 57.9316 | 2.7721 | 67.4155 | 3.3775 | 68.9761 | 3.5765 | 57.9316 | 2.7721 | 67.4155 | 3.3775 | 68.9761
4.9282 | 48.2397 | 4.2224 | 54.0877 | 3.8749 | 59.4424 | 4.2588 | 65.5144 | 4.2224 | 54.0877 | 3.8749 | 59.4424 | 4.2588 | 65.5144
6.5054 | 39.7122 | 4.654 | 51.9644 | 5.6865 | 52.1132 | 5.2336 | 63.3036 | 4.654 | 51.9644 | 5.6865 | 52.1132 | 5.2336 | 63.3036
10.1674 | 29.4088 | 6.2678 | 42.6563 | 7.9944 | 47.0136 | 6.5054 | 55.8168 | 6.5804 | 45.0389 | 7.9944 | 47.0136 | 9.9088 | 57.7661
13.1175 | 24.9244 | 8.6615 | 34.6172 | 10.6439 | 39.2604 | 9.0415 | 46.2135 | 11.4008 | 36.1349 | 10.7665 | 43.2708 | 28.0888 | 51.9644
17.0208 | 21.122 | 14.0906 | 25.4894 | 14.8357 | 32.0591 | 13.3066 | 37.3075 | 12.7839 | 34.4197 | 15.8 | 39.7122 | 102.7273 | 47.1483
24.1349 | 17.1957 | 19.5837 | 20.9934 | 25.1217 | 23.3463 | 21.2179 | 28.9331 | 15.3103 | 32.3203 | 22.8573 | 37.6114 | 261.1901 | 44.6541
7.2444 | -1619.1747 | 31.5866 | 16.0498 | 32.3183 | 20.3572 | 33.3521 | 23.3535 | 19.4719 | 30.0036 | 49.9354 | 35.6217 | 300.5188 | 44.2725
7.4718 | -1750.795 | 49.7927 | 12.9177 | 42.7837 | 17.7494 | 45.0459 | 20.5962 | 26.9854 | 27.7735 | 106.0133 | 34.4197
7.6992 | -1882.4154 | 56.1537 | 12.3073 | 58.6173 | 15.5633 | 58.7853 | 18.6368 | 36.4469 | 26.3796 | 266.4765 | 33.2582
7.9266 | -2014.0358 | 70.8067 | 11.2969 | 83.5946 | 13.8025 | 84.3155 | 16.7663 | 54.8824 | 24.9841 | 300.5188 | 33.0684
8.154 | -2145.6562 | 101.8489 | 10.0187 | 105.4082 | 12.9606 | 110.3481 | 15.8793 | 125.1595 | 23.2597
8.3814 | -2277.2765 | 144.8322 | 9.1685 | 168.5594 | 11.7586 | 202.4488 | 14.5308 | 261.1901 | 22.2828
8.6088 | -2408.8969 | 182.6255 | 8.8332 | 271.0927 | 11.1031 | 264.1979 | 14.3224 | 300.5188 | 22.1556
|  | 243.1519 | 8.5584 | 300.5188 | 11.069 | 300.5188 | 14.3603
|  | 300.5188 | 8.5077